adcflip – Turn off/on flipping of ADC7-ADC0.

usage	adcflip  {off|on }

code	adcflip_app() in common/cli_comlist.c

adc – Control Analog Devices 9826a ADC.  NEED MORE INFO

Usage	adc  op={init|read|1chn|2chan|3chan|diag} Reg=R val=V [adc=N]

Required arguments:

Op = Operation

Adc = default is ALL (0 to 16). User can specify a single ADC (0 to 16).

Reg = Register (pga, Offset) Range is 0 to 7.

Val = 9-bit value for SPI register.

Optional arguments:

Ch = ADC channel { red | green | blue }.

Dev = Set the 8 ADCs belonging to Dev 0 or 1.

Setup = 8 colon-delimited values for one dev’s ADCs.

Code	adc_app() in aq3u_apps/adc.c:

adczero – Set  offset to the starting ADC channel number from ADC0. Calling without argument returns the current value.

Usage	adczero  0-7

Code	adczero_app() in daq3u_apps/readout.c

Sets gd->dev_adczero[gd->dev]

arp – Display Ethernet ARP table

Usage	arp

Code	arp_app() in daq3u_apps/ifconfig.c

boardset – Displays information programmed into all boards in Stargrasp boardset.

Usage	boardset

Code	boardset_app() in daq3u_apps/boardset_app.c

bootp – Configure IP network using BootP protocol.

Usage	bootp [auto]

Code	bootp_app() in uip/uip_sockserv.c

celldes –  Designate cell usage (Science, video, etc.), or how a cell in an OTA is used.

Usage	celldes dev=0|1|ALL cells='SSSS...<64 chars>'

cells = is 64 characters (8 x8) string describing the cell usage. Characters can be S (science), V (video) , D (dead), X (none). Rather that the 64 char string, some test pattern names can be accepted (see code).

Code	cell_designate_app() in daq3u_apps/cell_select.c

cellsel –  Set designated cells to active, video, standby, or float.

Usage	cellsec type mode row

type = A, S, V, D, X, for All, Science, Video, Dead, None.

Mode = active, video, standby, float

row = 'all' or 0..8

Code	cell_select_app() in daq3u_apps/sell_select.c

ce –  Test the clocking engine.

Usage	ce {reset|swrest|master|slave|ms5|2x2|loop}

Code	ce() in daq3u_apps/ce.c

Clean –  Clean the CCD of charge.

Usage	clean i*teration w*idth h*eight dev

iteration = Number of time to repeat the clean.

w*idth = width (unbineed pixel columns) to clean.

h*eight = Height (unbinned pixel rows) to clean.

dev = device: { 0 | 1 | all }

Code	clean_app() in daq3u_apps/clean.c

clk –  Get or set digital output bits.

Usage	clk {init|updenable} <dev>|upddisable <dev|[u]<num> 0|1|lo|hi|toggle|loop [...]

Code	clk() in daq3u_apps/clk.c

If no parameter are given, print current values.

clv –  (Set parameter(s) from cestlavie) Clv is the old syntax. Phase out in favor for the clvset which is the same syntax as what cestlavie generates.

Usage	clv ppg4|pg3|pg4|adc <value>:<value>:<value>:...

<value> must be given in hexadecimal.

Code	clv() in daq3u_apps/clv.c

Calling without parameters will print the current setting.

clvset – Set parameter(s) from cestlavie.

Usage	clvset dev ppg4= pg3= pg4= adc= trig= pipeline= prescan=

dev = device: { 0 | 1 | all }

ppg4 = parallel Pattern generator-4 bit values.

pg3 = Serial Pattern Generator-3 bit values.

Pg4 = Video Pattern Generator-4 bit values.

Adc = clocking engine ADC options.

Trig = clocking engine offset

pipline = Pipeline pixel(s) in this clocking pattern.

Prescan = Serial prescan to skip on each pix row.

Code	clvset_app() in daq3u_apps/clv.c

Here is an example:

clvset

ppg4=ecbb:cbb2:bb2e:65d8:5d97:38ba:6622:3154 pg3=3c0f:c0f0:0f03:9024:0240:0406:d993:0124

pg4=1c1e:4020:0202:5044:0740:0006:6762:08a2

adc=0500

pipeline=3

console - Turn on/off serial console feedback

Usage	cmd

Code	fun() in dir/file.c

dac - Get or set DAC channel

Usage	cmd

Code	fun() in dir/file.c

daqserv - Start|stop accepting network commands

Usage	cmd

Code	fun() in dir/file.c

dcache - Enable or disable data cache

Usage	cmd

Code	fun() in dir/file.c

detsize - Set <width> <height> <namp> (size per amp)

Usage	cmd

Code	fun() in dir/file.c

dev - Select detector device 0 or 1

Usage	cmd

Code	fun() in dir/file.c

dev_temp_corr - Set device temperature correction factor

Usage	cmd

Code	fun() in dir/file.c

dev_temp_override - Overrides device temperature checking for short period

Usage	cmd

Code	fun() in dir/file.c

dimm - Get information about installed DIMM

Usage	cmd

Code	fun() in dir/file.c

? – Same as ‘help’.

etime - Set the next shutter exposure time in milliseconds for 'expose'.

Usage	etime ms

ms = exposure time in milliseconds.

Code	etime_app() in daq3u_apps/expose.c

Issuing the command without parameters returns the current value.

etype - Set the next exposure type (o/b/d)

Usage	etype  {o|v|b}

o = ??? (time expose opens the shutter for etime)

v = ??? (shutter/etime not done on expose)

b = ??? (shutter/etime not done on expose)

Code	etype_app() in daq3u_apps/expose.c

Issuing the command without parameters returns the current value.

expose - Take a timed exposure.

Usage	expose

Code	expose_app() in aq3u_apps/expose.c

expose_app() does something like:

ce_go( ce, 1 );            // flushes the device?

if( etype == o )           // open, etime delay, close the shutter for exposure

ce( open shutter )

ce( delay etime )

ce( close shutter )

ce_go( cd, 1)             // What does ce_go do?

// because we stuff the ce (clocking engine) with delay commands,

// this function wait until the etime elapse, then returns thus

// tying up the console until exposure is done.

if( etype == o )

loop until exposure time is done

print 'percentage done' to console.

help - Displays help information

Usage	cmd

Code	fun() in dir/file.c

i2c - Shows which known devices were found on the I2C bus

Usage	cmd

Code	fun() in dir/file.c

icache - Enable or disable instruction cache

Usage	cmd

Code	fun() in dir/file.c

ifconfig - Ethernet interface statistics

Usage	cmd

Code	fun() in dir/file.c

leds  - Allows/disallows board LEDs to be lit

Usage	cmd

Code	fun() in dir/file.c

mread - Read memory

Usage	cmd

Code	fun() in dir/file.c

mtest  - Test memory

Usage	cmd

Code	fun() in dir/file.c

mwrite - Write memory

Usage	cmd

Code	fun() in dir/file.c

nvm - Read/write NVM.

Usage	cmd

Code	fun() in dir/file.c

otacal - Calibrate pedestal offsets by cell (OTA only)

Usage	cmd

Code	fun() in dir/file.c

ota_info - Read OTA package IDs and temps

Usage	cmd

Code	fun() in dir/file.c

ot - Do an OT correction shift

Usage	cmd

Code	fun() in dir/file.c

overscan <npix> - Set the number of overscan pixels

Usage	cmd

Code	fun() in dir/file.c

pixtyp - Set OTA pixel type I or II (or 0 for CCD)

Usage	cmd

Code	fun() in dir/file.c

prescan <npix> -  Set the number of prescan pixels

Usage	cmd

Code	fun() in dir/file.c

readcal  - Calibrate readout parameters (measure noise)

Usage	cmd

Code	fun() in dir/file.c

readout  - Read pixels into memory buffer

Usage	readout args

POSIITIONAL ARG:

cellrow - OTA cell row to address. 'none', 'all' or value. Default is 'none'

w*idth - Width (unbinned pixel columns) to read.

h*eight - Height (unbinned pixel rows) to read.

colbin  - Column binning factor (unimplemented).

rowbin -Row binning factor.

namp - Number of amplifiers per CCD (1 to 8).

dev - Device to read (0 or 1).   Defaults to gp->dev;

NONPOSITIONAL ARG:

adcflip - Set to 1 to flip order of ADC channels.

adczero - Set to starting ADC number.

pskip - Extra parallel shifts to do before reading.

sskip - Extra serial shifts before each pixel row.

colskip - Extra OT-parallel shifts before reading.

sercln - Number of detector widths to clean.

bpp*out - Bits per pixel desired in DDR.

#ifdef HAVE_OTAVIDEO

vid_shutter - Activate shutter during video mode.

vid_rowpre - Rows to shift down for `video clean'.

vid_colpre - Cols to shift left (or right) for `video clean'.

vid_expose - Video mode exposure (pause) time.

vid_rowskip - Rows to skip down before reading out.

vid_colskip - Columns to skip before readout out.

vid_colskip2 - Second column OT shift to do.

#endif //   HAVE_OTAVIDEO

Code	readout_app() in daq3u_apps/readout.c

reset - Perform RESET of the CPU

Usage	cmd

Code	fun() in dir/file.c

run - Start application at address load_addr

Usage	cmd

Code	fun() in dir/file.c

selftest - Run self-tests

Usage	cmd

Code	fun() in dir/file.c

serial_num  - Test app to read/write serial numbers

Usage	cmd

Code	fun() in dir/file.c

settrig  - Set cross-trigger for synchronizing readouts

Usage	cmd

Code	fun() in dir/file.c

showfits - Show current FITS keywords provided by uboot

Usage	cmd

Code	fun() in dir/file.c

showme - Displays info about the system

Usage	cmd

Code	fun() in dir/file.c

shutter open|close - Manually open or close the shutter

temp - Read FPGA and board temperatures

testdata - Enable/disabled hardware test data

version - Print monitor version

Also in uip/daqserv.c the socket interface support the following commands. After the socket only command are checked, the socket process calls cli_execute().

Ack

Send

Ccd_dev

Connect <port> <pool>

Diag

Srec

Getvidset

Version

Ping

Dvadc

Binary

Size

Go

Udp

Exit, quit